| State of Wisconsin Department of Natural Resources Box 7921 Madison, Wisconsin 53707 |  |  |  | Excess Emission Report - SO2/NOx/TRS/H2S/VOC/CO/Hg Form 4500-126 (R 5/09) |
| --- | --- | --- | --- | --- |

| Note: Completion of this form is required pursuant to chapter NR 439, Wis. Adm Code. | Date Received by DNR |
| --- | --- |
| PART I. FACILITY INFORMATION |
| FID/Name of Company | 1 2 3 4 QTR. 20 Cert. (date) |
| Address | Type of Audit: CGA, IAA, RAA, RATA |
|  | Emission Limit |
| Manufacturer/Model Number | Stack Process | Total Source Operating Time in Quarter (hrs) |
|  |  | Pollutant |
| PART II. CAUSES OF EXCESS EMISSIONS (EE) | Duration of EE (hrs) | % of Operating Time1 |
| A. Startup/Shutdown |  |  |
| B. Process Malfunction |  |  |
| C. Control Equipment Malfunction |  |  |
| D. Fuel Problems |  |  |
| E. Other Known Causes |  |  |
| F. Unknown Causes |  |  |
| G. Total (A + B + ...F) |  | 2 |
| PART III. CAUSES OF CEMS DOWNTIME | Downtime (hrs) | % of Operating Time1 |
| A. Monitor Equipment Malfunction |  |  |
| B. Non-Monitor Equipment Malfunction |  |  |
| C QA/QC Calibration |  |  |
| D Other Known Causes |  |  |
| E Unknown Causes |  |  |
| F Total (A + B + ...E) |  | 2 |
| 1 | [EE (hrs) or Downtime (hrs) / Total Operating Time] x 100 |
| 2 | If the total duration of excess emissions is 1% or greater, or the total CEMS downtime is 5% or greater then both this Unit Summary Report and the Complete Excess Emission Report shall be submitted. If both the total duration of excess emissions is less than 1% and the total CEMS downtime is less than 5%, then only this Unit Summary Report and the quarterly audit shall be submitted. |
| I certify that the information contained in this report is true, accurate, and complete. |
| Signature | Title |
| Printed/Typed Name | Phone Number (incl. Area Code) | Date Signed |
| LEAVE BLANK - FOR DNR USE ONLY |
| Recommendation DNR Reviewer Date Reviewed |

# INSTRUCTIONS

PART I.	FACILITY INFORMATION

FID/Company Name:  Print or type the facility identification number and the full company name.

Address:  The address should correspond to the monitor site.

Manufacturer/Model Number:  Print or type the CEM manufacturer and/or model number.

Stack/Process:  List the stack and the process corresponding to the monitor.

1234 Qtr. 20:  Circle the reporting quarter.  Quarters are based on calendar year (1=January-March, 2=April-June, 3=July-September, 4=October-December).

Certification:  Give the most recent certification date.

Type of Audit:  Check the appropriate one.

Emission Limit:  Give emission limit in the units required under the permit and/or administrative code.

Total Source Operating Time:  Indicate total source operating time in quarter in total hours.

Pollutant:  List the pollutant you are reporting.

PART II.	CAUSES OF EXCESS EMISSIONS (EE)

% Of Operating Time Per Category:  Take the EE duration (hours) per category and divide by the total operating hours in the quarter; then multiply by 100.

Startup/Shutdown:  List the total hours of EE in the quarter due to startup and shutdown.

Process Malfunction:  List the total hours of EE in the quarter due to process malfunction.

Control Equipment Malfunction:  List the total hours of EE in the quarter due to control equipment malfunction.

Fuel Problems:  List the total hours of EE in the quarter due to fuel problems.

Other Known causes:  List the total hours of EE in the quarter due to other known causes.

Total Duration of Excess Emissions:  Add A...F (hours) to get the total hours of excess emissions.  Add A...F (% of operating time) to get the total % of operating time with excess emissions.

PART III.	CAUSES OF CEMS DOWNTIME*

% of Operating Time Per Category:  Take the downtime (hours) per category and divide by the total operating hours in the quarter; then multiply by 100.

Monitor Equipment Malfunction:  List the total hours of downtime in the quarter due to monitor equipment malfunction.

Non-Monitor Equipment Malfunction:  List the total hours of downtime in the quarter due to non-monitor equipment malfunction.

QA/QC Calibration:  List the total hours of downtime in the quarter due to QA/QC calibration.

Other Known Causes:  List the total hours of downtime in the quarter due to other known causes.

Unknown Causes:  List the total hours of downtime in the quarter due to unknown causes.

Total CEMS Downtime:  Add A...E (hours) to get the total hours of CEMS downtime.  Add A...E (% operating time) to get the total CEMS % downtime.

*CEMS downtime is not chargeable if it occurs during source downtime, but it does include out-of-control periods.