State of Wisconsin									COMPLIANCE DEMONSTRATION BY CONTINUOUS EMISSION MONITORING

Department of Natural Resources					AIR POLLUTION CONTROL PERMIT APPLICATION

Form 4530-119    11-93	Information attached?      (y/n)

An installation plan for each new (i.e., proposed) Continuous Emission Monitoring (CEM) system shall be submitted with the permit application for Department approval.  Installation plans for existing CEMs are not required to be submitted with the permit application.  The installation plan shall contain the following information: the name and address of the source; the source facility identification number; a general description of the process and the control equipment; the pollutant or diluent being monitored; the manufacturer, model number, and serial number of each analyzer; the operating principles of each analyzer; a schematic of the CEM system showing the sample acquisition point and the location of the monitors; and an explanation of any deviations from the siting criteria in Performance Specifications 1,2,3,4,5,6 and 7 in 40 CFR part 60, Appendix B, incorporated by reference in ch. NR 484, Wis. Adm. Code.

SEE INSTRUCTIONS ON REVERSE SIDE

| 1. Facility name: | 2. Facility identification number: |
| --- | --- |
| 3. Stack identification number: | 4. Unit identification number: |
| 5. Pollutant being monitored: (If other than opacity then item 6 or 7 will be required) |
| a. Name of manufacturer: | b. Model number: |
| c. Is this an existing system ( Yes ( No | d. Installation date: |
| e. Type ( In situ ( Extractive (Dilution ( Other (specify) |
| f. Describe how the monitor works: |
| g. Backup system: |
| h. ( The CEM system certification is attached for Department approval. ( If it is not attached, please submit it within 60 days of the startup of the CEM system. ( The certification was submitted to the Department on . i. ( A CEM system Quality Assurance/Quality Control Plan is attached for Department approval. ( If the plan is not attached, please submit it within 60 days of the CEM system startup. ( The plan was submitted to the Department on . |
| 6. Diluent being monitored: |
| a. Name of manufacturer: | b. Model number: |
| c. Is this an existing system ( Yes ( No | d. Installation date: |
| e. Type ( In situ ( Extractive ( O2 ( CO2 ( Other (specify) |
| f. Describe how the monitor works: |
| g. Backup system: |
| h. ( The CEM system certification is attached for Department approval. ( If it is not attached, please submit it within 60 days of the startup of the CEM system. ( The certification was submitted to the Department on . i. ( A CEM system Quality Assurance/Quality Control Plan is attached for Department approval. ( If the plan is not attached, please submit it within 60 days of the CEM system startup. ( The plan was submitted to the Department on . |
| 7. Flow |
| a. Name of manufacturer: | b. Model number: |
| c. Is this an existing system ( Yes ( No | d. Installation date: |
| e. Type ( Differential pressure ( Thermal ( Other (specify) |
| f. Describe how the monitor works: |
| g. Backup system: |
| h. ( The CEM system certification is attached for Department approval. ( If it is not attached, please submit it within 60 days of the startup of the CEM system. ( The certification was submitted to the Department on . i. ( A CEM system Quality Assurance/Quality Control Plan is attached for Department approval. ( If the plan is not attached, please submit it within 60 days of the CEM system startup. ( The plan was submitted to the Department on . |

COMPLIANCE DEMONSTRATION BY CONTINUOUS EMISSION MONITORING -- Form 4530-119

AIR POLLUTION CONTROL PERMIT APPLICATION INSTRUCTIONS

NOTE:  All operation permit applications must include this form except initial applications for existing, non-Part 70 sources and initial applications for new or modified sources for which no construction permit is required.  Completion of this form (when it applies) is mandatory.  The Department will not consider or act upon your application unless you complete and submit this application form (when it applies to you).  It is not the Department's intention to use any personally identifiable information from this form for any other purpose.

Complete one form for each significant emissions unit being monitored.  Acid rain sources must complete items 5, 6, and 7.  Other sources may complete either item 6 or item 7, as appropriate to the source's emission limit.

Item 1	Provide the name of the facility.

Item 2	Provide the facility identification (FID) number that appears on the annual emission inventory reports.

Item 3	Provide the identification number of the stack that exhausts this equipment.  Use the same number used on form 4530-103.

Item 4	Provide the identification number from the appropriate form(s) 4530-104, -105, -106, -107, -108, or -109 completed for the emissions unit that will have its emissions monitored.

Item 5	Identify the pollutants being monitored for this emissions unit.  Use one form for each pollutant.  Pollutants may include SO2, NOx, opacity, etc.  See instructions below for 5a -i.

Item 6	Identify diluents being monitored for this emissions unit.  This information is not required for opacity CEMs.  See instructions below for 6a - i.

Item 7	Provide the stack gas flow (in dry standard cubic feet).  This information is not required for opacity CEMs.  See instructions below for 7a - i.

Items 5-7a - i.

Fill out the following information for items 5, 6 and 7:

a.	List the name of the monitor manufacturer.

b.	List the model number of the monitor.

c.	Indicate if this monitor has been previously used for demonstrating compliance for this emissions unit, by checking the appropriate box.

d.	Give the date the monitor was installed.  If this is a new monitor, list the date it will be installed.

e.	Indicate the type of monitor.  If "other," give the type.

f.	Describe how the monitor works.  Form 4530-135 may be attached for this purpose.

g.	Describe how emission data will be collected if the monitor fails.

h.	The CEM system must be certified.  You must submit this certification to the Department with this permit application.  If the CEM system is not certified at the time of application, please submit the certification within 60 days following the startup of the CEM system.  If the certification has already been submitted to DNR, it is not necessary to submit it again. Please indicate the approximate date of submittal.

i.	You must submit a CEM system Quality Assurance/Quality Control (QA/QC) Plan with this permit application.  If the QA/QC plan is not submitted with the application, please submit the QA/QC plan within 60 days following the startup of the CEM system. If the plan has already been submitted to DNR, it is not necessary to submit it again. Please indicate the approximate date of submittal.