State of Wisconsin									COMPLIANCE DEMONSTRATION BY MONITORING CONTROL SYSTEM

Department of Natural Resources					PARAMETERS OR OPERATING PARAMETERS OF A PROCESS

AIR POLLUTION CONTROL PERMIT APPLICATION

Form 4530-121    11-93	Information attached?      (y/n)

The monitoring of a control system parameter or a process may be acceptable as a compliance demonstration method provided that a correlation between the parameter value and the emission rate of a particular pollutant is established in the form of a curve of emission rate versus parameter values.  Ideally three sets of stack test data, that bracket the emission limit if possible, could be used to define the emission curve.  This correlation shall constitute the certification of the system.  It should be attached for Department approval.  If it is not attached, please submit it within 60 days of the startup of the system.

SEE INSTRUCTIONS ON REVERSE SIDE

| 1. Facility name: | 2. Facility identification number: |
| --- | --- |
| 3. Stack identification number: | 4. Unit identification number: |
| 5. Pollutant(s) being monitored: |
| 6. Name of manufacturer: | 7. Model number: |
| 8. Is this an existing system? ( Yes ( No | 9. Installation date: |
| 10. Method of monitoring description: |
| 11. Backup system: |
| 12. Indicate by checking: The monitoring system shall be subject to appropriate performance specifications, calibration requirements and quality assurance procedures. ( A quality assurance/quality control plan for the monitoring system is attached for Department approval. ( If the plan is not attached, please submit it within 60 days of the start-up of the monitoring program. ( The plan was submitted to the Department on . |

13.	The applicant shall propose an appropriate averaging period, (i.e., a particular number of continuous hours) for the purpose of defining excess emissions.  The Department may approve the proposed averaging period, or other period which the Department determines to be appropriate.  Provide the proposed averaging period(s) below.

| Parameter | Averaging Period |
| --- | --- |

COMPLIANCE DEMONSTRATION BY MONITORING CONTROL SYSTEM

PARAMETERS OR OPERATING PARAMETERS OF A PROCESS -- Form 4530-121

AIR POLLUTION CONTROL PERMIT APPLICATION INSTRUCTIONS

NOTE:  All operation permit applications must include this form except initial applications for existing, non-Part 70 sources and initial applications for new or modified sources for which no construction permit is required.  Completion of this form (when it applies) is mandatory.  The Department will not consider or act upon your application unless you complete and submit this application form (when it applies to you).  It is not the Department's intention to use any personally identifiable information from this form for any other purpose.

Complete one form for each significant emissions unit being monitored.

Item 1	Provide the name of the facility.

Item 2	Provide the facility identification (FID) number that appears on the annual emission inventory reports.

Item 3	Provide the identification number of the stack that exhausts this equipment.  Use the same number used on form 4530-103.

Item 4	Provide the identification number from the appropriate form(s) 4530-104, -105, -106, -107, -108, or -109 completed for the emissions unit that will have its emissions monitored.

Item 5	Identify the pollutant(s) being monitored for this emissions unit.

Item 6	List the name of the monitor manufacturer.

Item 7	List the model number of the monitor.

Item 8	Indicate if this monitor has been previously used for demonstrating compliance for this emissions unit, by checking the appropriate box.

Item 9	Give the date the monitor was installed.  If this is a new monitor, list the date it will be installed.

Item 10	List all parameters used to characterize this device.  Typical design parameters are pressure drop, operating temperature, pressure, volume of device, volumetric flow rate of dirty gas, etc.  Indicate the operating range of all parameters and the units (psia, oF, ft3, ACFM, etc.).  Show any calculations.

Describe how the parameter is being measured.  Form 4530-135 may be used to provide this explanation.  For example, you could indicate that an average value for the parameter shall be determined and recorded every 15 minutes.

Item 11	Describe how parameter data will be collected if this method fails.

Item 12	Note: The information requested in Items 12 and 13 is optional for your application.  Whatever information you choose to submit for Items 12 and 13 that is acceptable to the Department will be incorporated into any permit issued by the Department.  If you do not complete Items 12 and 13 the Department will write these elements of the compliance demonstration program into the permit.

You should submit a parameter monitoring system Quality Assurance/Quality Control (QA/QC) Plan with this permit application.  If the QA/QC plan is not submitted with the application, please submit the QA/QC plan within 60 days following the startup of the system. If the plan has already been submitted to DNR, it is not necessary to submit it again. Please indicate the approximate date of submittal.

Item 13	Provide the details of the proposed averaging period for defining excess emissions.  Each parameter used to characterize the control system or process must have an appropriate (i.e., approved by the Department) averaging period.  For example, you could indicate that any 3-hour rolling average outside of the normal 3"- 6" range of pressure drop across the baghouse shall be reported as an excess emission.

*****     You must report any excess emissions on a regular basis.     *****

Please refer to the Department's compliance program guidance for further details.